## Introduction
LOCAL LAW 87 - RETRO-COMMISSIONING DATA COLLECTION TOOL
Welcome to the Local Law 87 (LL87) Retro-Commissioning Data Collection Workbook from the New York City Department of Buildings. As part of the Greener, Greater Buildings Plan (GGBP), the City of New York enacted Local Law 87 which requires large buildings to undergo retro-commissioning once every ten years. This workbook captures critical information about your Lot/Building that should have been included in the retro-commissioning that was performed. New York City Department of Buildings will use the information found on this workbook to verify compliance with Local Law 87.
| For more information and to download a copy of Local Law 87/Rule visit: |  | http://www.nyc.gov/html/dob/html/sustainability/energy_audit.shtml
| Questions or comments about this tool should be e-mailed to: | LL87Questions@buildings.nyc.gov
Tip #1: Only cells shaded in blue need to be entered/edited manually as mandatory fields. Enter "N/A" or leave as blank if a particular field does not apply. Do not "Change/Edit" white or grey cells.
Tip #2: Follow the formatting guidelines and/or instructions presented as pop-up comments (as indicated by a red triangle located in the upper right hand corner) for certain fields.
Tip #3: Provide a justification or explanation within the "Comments/Notes" window located at the bottom of each tab for any mandatory field entered as "N/A" or left blank.
Tip #4: Team Info(1), Building Info(1) and RCMs(1) tabs/sheets can be copied multiple times in their entirety manually, if needed for multiple buildings information entry. Do not Cut, Copy, Paste or Edit portions of sections within any sheet.
Tip #5: Use Energy Star Portfolio Manager Technical Reference "Thermal Energy Conversions" for all unit conversions/heat contents of each fuel type.
Note: This Energy Efficiency Report does not replace the Retro-Commissioning Report. A complete copy of the Retro-Commissioning report can be requested at any time for review and enforcement purposes. See AC §28-308.3.1 for the contents of the Retro-Commissioning report.

## Submittal Information
SUBMITTAL INFORMATION
Energy Efficiency Report (EER) Submission Information
Submitted by:
Company:
Phone:
Extension (If Applicable)
E-mail:
Date:
Early Compliance:
Filing Status:
Lot Information
Borough:
Block:
Lot:
# of Buildings on Lot:
Building(s) Information
| BIN | Address(es) | Zip Code
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
Comments/Notes: (If Applicable)
Note on B8: Department of Buildings: Enter name of the professional/owner submitting this tool in the following format: last name then first name, separated by a space, not a comma.
Note on B10: Department of Buildings: Enter as (Area Code) xxx-xxxx
Note on B13: Department of Buildings: Date of submission of this Retro-Cx workbook to DOB. Format: MM/DD/YYYY
Note on B19: Department of Buildings: Enter tax block as assigned by Department of Finance. Must be entered as 5-digits without any commas, dashes or spaces. For example, enter 00001 for Block 1.
Note on B20: Department of Buildings: Enter tax lot as assigned by Department of Finance. Must be entered as 4-digits without any commas, dashes or spaces. For example, enter 0010 for Lot 10.
Note on B21: Department of Buildings: For each building enter BIN, Address and Zip Code in Building(s) Information section below.
Note on B24: Department of Buildings: Building Identification Number - Unique 7-digit Building Identification Number, assigned by City Planning, to a specific building. Enter all digits without any commas, dashes or spaces.

## Team Info
The Information in this tab is applicable to the following buildings:
TEAM INFORMATION
Retro-Commissioning Team Information | BIN(s)
Name of professional signing off:
License:
License #:
Organization/Company:
Address:
Telephone:
Qualified Commissioning Agent:
Years of Experience:
Type of Certification (if applicable):
Certification Expiration Date:
Retro-Commissioning Report Date:
Comments/Notes: (If Applicable)
Note on B9: Department of Buildings: last name first then first name, separated by a space, not a comma
Note on B15: Department of Buildings: Enter as (Area Code) xxx-xxxx
Note on B17: Department of Buildings: last name first then first name, separated by a space, not a comma
Note on B18: Department of Buildings: Enter years of experience performing Retro-Commissioning on buildings larger than 50,000 gross square feet. Enter in digit format e.g. enter as 1 not "one".
Note on B20: Department of Buildings: Format: MM/DD/YYYY
Note on B21: Department of Buildings: Enter date when final Retro-Commissioning report was submitted to the owner. Format: MM/DD/YYYY

## Building Info
The Information in this tab is applicable to the following buildings:
BUILDING INFORMATION
Building Contacts | BIN(s)
Building Owner:
Owner's Representative:
Management Company:
Property Management Contact Person:
Telephone:
Building Operator:
Operator's Certification:
if "Other", please specify:
License # (if applicable):
State:
Comments/Notes: (If Applicable)
Note on B12: Department of Buildings: last name first then first name, separated by a space, not a comma
Note on B13: Department of Buildings: Enter as (Area Code) xxx-xxxx
Note on B15: Department of Buildings: last name first then first name, separated by a space, not a comma

## RCMs
RETRO-COMMISSIONING IMPLEMENTATION SUMMARY
The items on the list are NOT intended as instruction or guidance.
Retro-Commissioning Measures
Retro-Commissioning Measure List | Compliant | Notes | Explanation of Deficiency Corrected | Approach Taken to Comply | Implementation Cost ($) | Annual Energy Savings based on Fuel Type |  |  |  |  | Total Annual Energy Savings (kBTU) | Annual Cost Savings ($) | Simple Payback (Years)
[6 empty] | Electricity (kWh) | Natural Gas (Therms) | Fuel Oil (Gallons) | Steam (lb.) | Other Fuel Type (kBTU)
1. Operating protocols, calibration, and sequencing:
1.1. HVAC temperature and humidity set points and setbacks are appropriate and operating schedules reflect major space occupancy patterns and the current facility requirements. | [12 empty] | #DIV/0! | The Information in this tab is applicable to the following buildings:
1.2. HVAC sensors are properly calibrated. | [12 empty] | #DIV/0! | BIN(s)
1.3. HVAC controls are functioning and control sequences are appropriate for the current facility requirements. | [12 empty] | #DIV/0!
1.4. Loads are distributed equally across equipment when appropriate (i.e. fans, boilers, pumps, etc. that run in parallel). | [12 empty] | #DIV/0!
1.5. Ventilation rates are appropriate for the current facility requirements. | [12 empty] | #DIV/0!
1.6. System automatic reset functions are functioning appropriately, if applicable. | [12 empty] | #DIV/0!
1.7. Adjustments have been made to compensate for oversized or undersized equipment so that it is functioning as efficiently as possible. | [12 empty] | #DIV/0!
1.8. Simultaneous heating and cooling does not occur unless intended. | [12 empty] | #DIV/0!
1.9. HVAC system economizer controls are properly functioning, if applicable. | [12 empty] | #DIV/0!
1.10. The HVAC distribution systems, both air and water side, are balanced. | [12 empty] | #DIV/0!
1.11. Light levels are appropriate to the task. | [12 empty] | #DIV/0!
1.12. Lighting sensors and controls are functioning properly according to occupancy, schedule, and/or available daylight, where applicable. | [12 empty] | #DIV/0!
1.13. Domestic hot water systems have been checked to ensure proper temperature settings. | [12 empty] | #DIV/0!
1.14. Water pumps are functioning as designed. | [12 empty] | #DIV/0!
1.15. System water leaks have been identified and repaired. | [12 empty] | #DIV/0!
2. Cleaning and repair:
2.1. HVAC equipment (vents, ducts, coils, valves, soot bin, etc.) is clean. | [12 empty] | #DIV/0!
2.2. Filters are clean and protocols are in place to replace, as appropriate. | [12 empty] | #DIV/0!
2.3. Light fixtures are clean. | [12 empty] | #DIV/0!
2.4. Motors, fans, and pumps, including components such as belts, pulleys, and bearings, are in good operating condition. | [12 empty] | #DIV/0!
2.5. Steam traps have been replaced as required to maintain efficient operation, if applicable. | [12 empty] | #DIV/0!
2.6. A protocol for addressing issues which necessitate manual overrides on existing equipment has been developed. | [12 empty] | #DIV/0!
2.7. Boilers have been tuned for optimal efficiency, if applicable. | [12 empty] | #DIV/0!
2.8. Exposed hot and chilled water and steam pipes three (3) inches or greater in diameter with associated control valves are insulated in accordance with the standards of the New York city energy conservation code as in effect for new systems installed on or after July 1, 2010. | [12 empty] | #DIV/0!
2.9 In all easily accessible locations, sealants and weather stripping are installed where appropriate and are in good condition. | [12 empty] | #DIV/0!
#VALUE!
Comments/Notes: (If Applicable)
Note on D9: Department of Buildings: If Yes is selected under Compliant column, enter "No deficiency observed" OR "Deficiency observed and corrected". If N/A is selected under Compliant column then provide reasons.
Note on E9: Department of Buildings: List, quantify and describe all associated items adjusted, calibrated, balanced, repaired, replaced, installed, insulated, tuned or cleaned. Enter N/A if "No deficiency is observed or "N/A" is selected under "Compliant" and reasons are provided under "Notes".
Note on F9: Department of Buildings: Summary of correction methodology adopted.
Note on M9: Department of Buildings: Sum of annual electricity, natural gas, fuel oil, steam and other fuel type in common units (kBTU)

## DropDowns (hidden)
LT_Boro | LT_FilStat | LT_Typ | LT_ProfTyp | LT_CertTyp | Space Types | Metering Configuration | LT_OperCert | System Designation | Heating Equip. Type | Equipment Location | Spaces Served | Fuel Source | Efficiency Units | Venting Type | Burner Equip. Type | Heating Distribution Types | Heating Terminal Equip. Type | Cooling Equipment Type | Air or Water Cooled | Cooling Efficiency Units | DHW Equipment Types | DHW from Space Heating Boiler | Roof Pitch | Ventilation Conditioned Supply | Ventilation System Operational | Windows Framing Material | # of Panes | Glass Coating | ECM Categories | ECMs_Conveying Systems | ECMs_Cooling System | ECMs_Distribution System | ECMs_Domestic Hot Water | ECMs_Envelope | ECMs_Fuel Switching | ECMs_Heating System | ECMs_HVAC Controls and Sensors | ECMs_Lighting | ECMs_Motors | ECMs_On-Site Generation | ECMs_Process/Plug Loads | ECMs_Submetering | ECMs_Ventilation | ECMs_Non-Base Building | ECMs_NonBaseBuildingCategories | ECM Recommendations | LT_RCMComp
Manhattan | Initial Filing | Yes | PE | Cert. Commissioning Pro. (CCP) | Bank/Financial Institution | Tenants directly metered | BOC | Primary | Air Source Heat Pump | Below Ground | 100% - 75% | Natural Gas | AFUE | Condensing | Full Modulation - Set to Manual | Electric | Baseboard | Absorption Chiller - 1 Stage | Air Cooled | SEER | Loop through Heating Boiler | Yes - Year Round | > 2:12 | No | Yes | Aluminum | Single | Heat Absorbing Tints | Conveying_Systems | Add Elevator Regenerative Drives | Add economizer cycle | Capture and return condensate | Decrease DHW Temperature | Add Window Films | #2 oil to natural gas | Add static pressure control | Change Set Points / Setbacks - Cooling | Delamp | Install VFDs | Install Cogeneration Plant | Automatic Shutdown / Sleep Mode for Computers | Install Submetering | Convert CV system to VAV type system | Appliances - Replace Air Conditioners | Non-Base Building | Recommended | YES
Brooklyn | Amended Filing | No | RA | Cert. Bldg Commissioning Pro. (CBCP) | Courthouse | Tenants sub-meterd by building owner | BPI | Secondary | Combined Heat and Power | Ground Level | 75% - 50% | #2 Oil | Et | Near-Condensing | Full Modulation - Set to Modulated | Forced Air | Radiator | Absorption Chiller - 2 Stage | Water Cooled | EER | Separate Hot Water Boiler with Storage Tank | Yes - Heating Season only | <2:12 | Yes - MAU | No | Wood | Single w/Storm | Reflective Coating | Cooling_System | Upgrade Controls | Add or upgrade cooling tower | Install or Upgrade Master Venting | Install DHW Controls | Exterior Door Replacement | #6 oil or #4 oil to #2 oil | Clean & Tune Boiler/Furnace | Change Set Points / Setbacks - Heating | Install Bi-level Lighting | Remove Motors | Install Ground Source Heat Pump | Data Center - Hot aisle/cold aisle design | Other | Install CAR Dampers | Appliances - Replace Dishwashers |  | Further Study Recommended | N/A
Queens |  |  | Approved Agent | Exisiting Bldg Commissioning Pro (EBCP) | Data Center | Tenants not directly metered or sub-metered | Other | Tertiary | Electric Resistance | Above Ground | 50% - 25% | #4 Oil | HSPF | Forced Draft | Step Modulation | 1-pipe Steam | Fan Coil | Gas Engine Chiller | N/A | COP | Heat Exchanger from Heating System | No |  | Yes - ERV / HRV | Yes, but not used | Fiberglass | Double | Low-E Coating | Distribution_System | Upgrade Motors | Heat recovery - Cooling only | Insulate Ducts | Install Low-Flow Aerators | Increase insulation - Basement/Crawl Space | #6 oil or #4 oil to natural gas | Electric to Gas Conversion | Implement Static Pressure Reset | Install Occupancy/Vacancy Sensors | Upgrade Motors | Install Solar/Photovoltaic | Data Center - Other |  | Install Demand Control Ventilation | Appliances - Replace Refrigerators |  | Not Recommended
Bronx |  |  |  | Commissioning Process Mngmt Pro (CPMP) | Hospital |  |  |  | Furnace |  | 25% - 0% | #6 Oil | COP | Atmospheric | Hi-Lo Operation | 2-pipe Steam | Duct | Electric Chiller |  | kW/Ton | Direct Fired Storage Tank |  |  | Yes - Economizer |  | Other | Triple | None | Domestic_Hot_Water | Other | Install VSD on Electric Centrifugal Chillers | Insulate Pipes | Install Low-Flow Showerheads | Increase insulation - Floor | #6 to dual fuel | Electric to Hydronic Conversion | Install Indoor Sensors | Install Photocell Control | Other | Other | Data Center - Server Virtualization |  | Install Exhaust Fan Timers | Appliances - Replace Washer / Dryer |  | Implemented
Staten Island |  |  |  | Accredited Commissioning Process Authority Pro (ACPAP) | Hotel |  |  |  | Gas fired Packaged Terminal Units |  |  | Dual Fuel |  | N/A | On/Off | Hydronic | Radiant Floor | Window A/C |  |  | Instantaneous (Point of Use) | [6 empty] | Unknown | Envelope |  | Replace Chiller | Repair Leaks | Install Solar Thermal DHW | Increase insulation - Roof | District steam to on-site generation | Electric to Steam Conversion | Install or Upgrade EMS/BMS | Install Timers |  |  | Data Center - Upgrade Servers |  | Upgrade Exhaust Fans | Upgrade Lighting to Fluorescent
[5 empty] | House of Worship |  |  |  | Gas Fired Rooftop Unit |  |  | Distric Steam |  |  | N/A | Vacuum Steam | PTAC | Through Wall A/C |  |  | Solar Thermal | [6 empty] | Other | Fuel_Switching |  | Upgrade Chiller | Replace or repair Main Steam Trap | Install Water Pressure Booster | Increase insulation - Wall | Utility steam to on-site generation | Heat recovery - Heating only | Install Programmable Thermostats | Replace Diffusers |  |  | Drain Water Heat Recovery |  | Upgrade Fan/Air Handlers | Upgrade Lighting to LED
[5 empty] | K-12 School |  |  |  | Ground Source Heat Pump |  |  | Electric |  |  |  |  | Other | PTAC |  |  | Other | [7 empty] | Heating_System |  | Replace packaged units | Replace or repair Steam Traps | Insulate DHW Piping | Install Cool or Green Roof | Other | Heat recovery from Utility Steam | Install TRVs | Upgrade Exit Signs to LED |  |  | Replace Clothes Dryers |  | Other | Other
[5 empty] | Medical Office |  |  |  | Hot Water Boiler |  |  | Propane | [5 empty] | Ductless Mini Split System | [10 empty] | HVAC_Controls_and_Sensors |  | Upgrade packaged units | Replace or repair Vacuum Pump | Insulate DHW Tank | Replace Curtain/Window Wall |  | Install Barometric Damper | Pneumatic to DDC conversion | Upgrade Exterior Lighting |  |  | Replace Washing Machines
[5 empty] | Office |  |  |  | Steam Boiler |  |  | Other | [5 empty] | Split System Central Air | [10 empty] | Lighting |  | Other | Replace PTACs | Replace Piping | Replace Glazing and Frames |  | Install Bleeders | Replace Outdoor Reset | Upgrade to Fluorescent |  |  | Other
[5 empty] | Residence Hall/Dorm |  |  |  | Distric Steam | [8 empty] | Steam Turbine Chiller | [10 empty] | Motors |  |  | Upgrade PTACs | Replace Tankless Coil | Replace Windows |  | Install Circulators | Zone control upgrades | Upgrade to LED
[5 empty] | Retail |  |  |  | Utility Steam | [8 empty] | DX Units | [10 empty] | On_Site_Generation |  |  | Seal Ducts | Separate DHW from Heating | Sealing - Door |  | Install Thermostatic Damper | Other | Other
[5 empty] | Senior Care Facility |  |  |  | Water Source Heat Pump | [8 empty] | Rooftop Units | [10 empty] | Process_and_Plug_Loads |  |  | Upgrade Pumps | Upgrade DHW Boiler | Sealing - Roof Penetrations |  | Insulate Condensate Tank
[5 empty] | Supermarket/Grocery | [12 empty] | Geothermal | [10 empty] | Submetering |  |  | Other | Other | Sealing - Room AC |  | Replace Boiler
[5 empty] | Warehouse | [12 empty] | Thermal Storage | [10 empty] | Ventilation |  |  |  |  | Sealing - Vertical Shafts |  | Upgrade Boiler
[5 empty] | Multifamily | [12 empty] | Water Side Economizer | [15 empty] | Sealing - Windows |  | Replace Boiler Jacket
[5 empty] | Other | [12 empty] | Other | [15 empty] | Other |  | Replace Burner
Upgrade Burner
Replace Furnace
Upgrade Furnace
Replace Steam Control Valves
Replace Steam Header
Steam to Hydronic Conversion
Other